## BASE BID
Category Label | Category Data
Material Non-Quoted | 210036.84 |  |  | Project : | HONEST COMPANY PLAYA VISTA OFFICE
Material Quotes | 924397 |  |  | Due Date : | 2026-08-31
Material Escalation | 0 | 0% | PLEASE ADJUST
Sales Tax | 110607.2994 | 9.75% | PLEASE ADJUST
Total Material | 1245041.1394 |  |  | Bid Price |  |  | 2026263.7631
Labor Direct | 252364.5 | 45 | PLEASE ADJUST | Non Productive Labor |  |  | 937.215 |  |  |  | NON-PRODUCTIVE HOURS
Labor Non-Productive | 42174.675 |  |  | Labor Hours |  |  | 5608.1 |  |  |  | NON PRODUCTIVE LABOR | 280.405 | 5% | PLEASE ADJUST ACCORDINGLY
Total Labor | 294539.175 |  |  | Total Labor Hours |  |  | 6545.315 |  |  |  | SUPERVISION | 560.81 | 10% | PLEASE ADJUST ACCORDINGLY
Direct Job Expenses | 43064.1753 | [9 empty] | OT OR SHIFT | 0 |  | PLEASE ADJUST ACCORDINGLY
Tools and Miscellaneous Materials | 19145.0464 | [9 empty] | TESTING | 16 |  | PLEASE ADJUST ACCORDINGLY
Subcontracts | 0 | [9 empty] | PUNCH LISTS | 80 |  | PLEASE ADJUST ACCORDINGLY
Subcontract mark up | 0 | 5% | PLEASE ADJUST | [7 empty] | T24 LTG COMMISSION | 0 |  | PLEASE ADJUST ACCORDINGLY
Job Subtotal (Prime Cost) | 1601789.536 |  |  | Job Total per Square Foot |  |  | 61.9122 |  |  |  | CLOSEOUT&MISC HRS | 0 |  | PLEASE ADJUST ACCORDINGLY
Overhead | 160178.9536 | 10% | PLEASE ADJUST | Labor cost per Square Foot |  |  | 7.711 |  |  |  | NON-PROD TOTAL | 937.215
Profit | 264295.2734 | 15% | PLEASE ADJUST | Total Square Feet |  |  | 32728
Job Total | 2026263.7631
Bond | 0 | 0% | PLEASE ADJUST | [7 empty] | # OF GUYS | 10
CONTINGENCY | 0 | 0% | PLEASE ADJUST | [7 empty] | DAYS TO COMPLETE | 81.8164
Actual Bid Price | 2026263.7631
HOURS/ SF | 0.19999
MATERIAL/SF | 6.4176
MATERIAL QUOTE | Description | Qty | Price | Total
QUOTE | LIGHTING AND CONTROLS | 1 | 914572 | 914572 |  | 27.9446
QUOTE | GEAR | 1 | 9825 | 9825 |  | 0.3002
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
SUBCONTRACT | Description | Qty | Price | Total
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
Direct Job Expense | Description / Vendor | Qty | Price | Total
PERMIT FEES |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
GENERAL SUPERVISION |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
FUEL |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TRUCKS |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TEMP POWER |  | 1 | 32728 | 32728 |  | PLEASE ADJUST ACCORDINGLY
JOB OFFICE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TITLE 24 |  | 1 | 1500 | 1500 |  | PLEASE ADJUST ACCORDINGLY
Misc. Expenses and Materials |  | 1 | 8836.1753 | 8836.1753 |  | PLEASE ADJUST ACCORDINGLY
TOOLS AND MISC EXPENSES | Description / Vendor | Qty | Price | Day | Week | Month | Total
TOOLS AND MISC EXPENSES |  | 1 | 4418.0876 |  |  |  | 4418.0876 |  | PLEASE ADJUST ACCORDINGLY
EQUIPMENT RENTAL /SCISSOR LIFT |  | 1 | 14726.9587 |  |  |  | 14726.9587 |  | PLEASE ADJUST ACCORDINGLY
EXCAVATOR RENTAL |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Trencher |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Man Lift |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Delivery | Rental Delivery Charge | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Item# | Description | Qty | Price | Price Unit | Ext Price | Labor | Labor Unit | Ext Labor | Updated | MAT SUBTOTAL | LABOR SUBTOTAL
LIGHTING
1001 | 3/4" EMT | 3520 | 98.69 | C | 3473.89 | 2.7 | C | 95.04
1122 | 3/4" Steel Flex | 2970 | 129.85 | C | 3856.55 | 2 | C | 59.4
1445 | 3/4" Set Screw Steel Conn | 604 | 90.45 | C | 546.32 | 0.06 | E | 36.24
1545 | 3/4" Set Screw Steel Cplg | 352 | 45.05 | C | 158.58 | 0.06 | E | 21.12
1894 | 3/4" Seal-tite Conn (Str) | 594 | 481.9 | C | 2862.49 | 0.09 | E | 53.46
2339 | 3/4" 1-Hole Strap | 631.25 | 22.8 | C | 143.93 | 2.3 | C | 14.52
2395 | 3/4" Beam Clamp w/Conduit Hanger | 180 | 528.31 | C | 950.96 | 6 | C | 10.8
2445 | 3/8" All Thread | 16 | 97.57 | C | 15.61 | 6.29 | C | 1.01
2447 | Hex Nut 3/8" Zinc Plated | 16 | 53.52 | C | 8.56 | 0.2 | C | 0.03
2449 | 3/8"x1-1/2" Bolt | 4 | 20.1 | C | 0.8 | 3 | C | 0.12
2450 | 3/8" Machine Screw Lead Anchor | 4 | 134.99 | C | 5.4 | 14 | C | 0.56
2469 | 4" Square Box (1/2 & 3/4 KO's) | 301 | 188.64 | C | 567.81 | 0.18 | E | 54.18
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 1 | 215.8 | C | 2.16 | 0.2 | E | 0.2
2660 | #12 THHN CU Stranded Wire | 28801.5 | 245.3 | M | 7065.01 | 5.5 | M | 158.41
4891 | 4" Square-3/0 Plaster Ring-1/2"D | 301 | 404.99 | C | 1219.02 | 0.07 | E | 21.07
4892 | 4" Square-3/0 Plaster Ring-5/8"D | 1 | 150.25 | C | 1.5 | 0.07 | E | 0.07
5257 | Seismic wire | 96 | 2 | E | 192 | 0.03 | E | 2.88
5261 | Pendant /Cable (length as required) | 432 | 0 | E | 0 | 0.25 | E | 108
5932 | Unistrut (Deep) | 8 | 378.57 | C | 30.29 | 10 | C | 0.8
5935 | Cut 12 Gauge 1-5/8x1-5/8 Channel (labor) | 2 | 0 | E | 0 | 0.15 | E | 0.3
6133 | Red Wirenuts (10-18 guage) | 906 | 145.79 | M | 132.09 | 1.75 | C | 15.86
A2 | RECESSED DOWNLIGHT | 4 | 0 | 1 | 0 | 1 | E | 4
A3 | RECESSED DOWNLIGHT | 11 | 0 | 1 | 0 | 1 | E | 11
A3-EM | RECESSED DOWNLIGHT | 4 | 0 | 1 | 0 | 1.5 | E | 6
A4 | RECESSED DOWNLIGHT | 96 | 0 | 1 | 0 | 1 | E | 96
A4-EM | RECESSED DOWNLIGHT | 25 | 0 | 1 | 0 | 1.5 | E | 37.5
A5 | RECESSED DOWNLIGHT | 30 | 0 | 1 | 0 | 1 | E | 30
A5-EM | RECESSED DOWNLIGHT | 11 | 0 | 1 | 0 | 1.5 | E | 16.5
A6 | RECESSED DOWNLIGHT | 12 | 0 | 1 | 0 | 1 | E | 12
A6-EM | RECESSED DOWNLIGHT | 4 | 0 | 1 | 0 | 1.5 | E | 6
A7 | RECESSED DOWNLIGHT | 63 | 0 | 1 | 0 | 1 | E | 63
A7-EM | RECESSED DOWNLIGHT | 5 | 0 | 1 | 0 | 1.5 | E | 7.5
A8 | RECESSED DOWNLIGHT | 3 | 0 | 1 | 0 | 1 | E | 3
A8-EM | RECESSED DOWNLIGHT | 4 | 0 | 1 | 0 | 1.5 | E | 6
B1 | COVE LIGHTING | 53 | 0 | 1 | 0 | 0.25 | E | 13.25
B10 | 6FT LINEAR PENDANT | 1 | 0 | 1 | 0 | 2.25 | E | 2.25
B10-EM | 6FT LINEAR PENDANT | 2 | 0 | 1 | 0 | 2.25 | E | 4.5
B11 | 10FT LINEAR PENDANT | 2 | 0 | 1 | 0 | 3.75 | E | 7.5
B2 | LINEAR SURFACE | 296 | 0 | 1 | 0 | 0.3 | E | 88.8
B3-10FT | 10FT LINEAR PENDANT | 7 | 0 | 1 | 0 | 3.75 | E | 26.25
B3-15FT | 15FT LINEAR PENDANT | 1 | 0 | 1 | 0 | 5.5 | E | 5.5
B3-20FT | 20FT LINEAR PENDANT | 11 | 0 | 1 | 0 | 7.5 | E | 82.5
B3-24FT | 24FT LINEAR PENDANT | 1 | 0 | 1 | 0 | 9 | E | 9
B3-6FT | 6FT LINEAR PENDANT | 7 | 0 | 1 | 0 | 2.25 | E | 15.75
B4 | 6FT LINEAR PENDANT | 18 | 0 | 1 | 0 | 2.25 | E | 40.5
B5-H | TRACK HEAD | 3 | 0 | 1 | 0 | 0.15 | E | 0.45
B5-T | 7FT TRACK HEAD | 1 | 0 | 1 | 0 | 2 | E | 2
B6-16FT | 16FT RECESSED LINEAR | 20 | 0 | 1 | 0 | 6 | E | 120
B6-8FT | 8FT RECESSED LINEAR | 2 | 0 | 1 | 0 | 3 | E | 6
B6EM-8FT | 8FT RECESSED LINEAR | 1 | 0 | 1 | 0 | 3 | E | 3
B7 | 4FT LINEAR PENDANT | 23 | 0 | 1 | 0 | 1.5 | E | 34.5
B7-EM | 4FT LINEAR PENDANT | 1 | 0 | 1 | 0 | 1.5 | E | 1.5
B8 | TROFFER RECESSED | 2 | 0 | 1 | 0 | 4 | E | 8
B9 | 4FT LINEAR PENDANT | 6 | 0 | 1 | 0 | 1.5 | E | 9
C1 | PENDANT-LIGHTING | 76 | 0 | 1 | 0 | 1.5 | E | 114
C1-EM | PENDANT-LIGHTING | 21 | 0 | 1 | 0 | 1.5 | E | 31.5
C10 | PENDANT LIGHTING | 9 | 0 | 1 | 0 | 2 | E | 18
C11 | PENDANT LIGHTING | 4 | 0 | 1 | 0 | 3 | E | 12
C2 | PENDANT LIGHTING | 12 | 0 | 1 | 0 | 2 | E | 24
C2-EM | PENDANT LIGHTING | 8 | 0 | 1 | 0 | 3 | E | 24
C3 | PENDANT LIGHTING | 17 | 0 | 1 | 0 | 4 | E | 68
C4 | PENDANT LIGHTING | 1 | 0 | 1 | 0 | 2 | E | 2
C5 | PENDANT LIGHTING | 2 | 0 | 1 | 0 | 2 | E | 4
C6 | PENDANT LIGHTING | 11 | 0 | 1 | 0 | 2 | E | 22
C7 | PENDANT LIGHTING | 4 | 0 | 1 | 0 | 2 | E | 8
C8 | 8FT LINEAR PENDANT | 1 | 0 | 1 | 0 | 3 | E | 3
C9A | PENDANT LIGHTING | 1 | 0 | 1 | 0 | 3 | E | 3
C9B | PENDANT LIGHTING | 5 | 0 | 1 | 0 | 4 | E | 20
D1 | WALL SCONCE | 1 | 0 | 1 | 0 | 1.5 | E | 1.5
F1 | EXIT SIGN | 34 | 0 | 1 | 0 | 1 | E | 34
RPD | DRIVER | 14 | 0 | 1 | 0 | 1 | E | 14
[10 empty] | 21232.97 | 1835.82
LIGHTING DEVICE
1001 | 3/4" EMT | 1980 | 98.69 | C | 1954.06 | 2.7 | C | 53.46
1445 | 3/4" Set Screw Steel Conn | 198 | 90.45 | C | 179.09 | 0.06 | E | 11.88
1545 | 3/4" Set Screw Steel Cplg | 132 | 45.05 | C | 59.47 | 0.06 | E | 7.92
1607 | 3/4" Plastic Bushing | 66 | 19.98 | C | 13.19 | 0.07 | E | 4.62
2339 | 3/4" 1-Hole Strap | 264 | 22.8 | C | 60.19 | 2.3 | C | 6.07
2456 | 7' Cable Ty Wrap | 724 | 13.13 | C | 95.06 | 0.03 | E | 21.72
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 250 | 215.8 | C | 539.5 | 0.2 | E | 50
2660 | #12 THHN CU Stranded Wire | 4158 | 245.3 | M | 1019.96 | 5.5 | M | 22.87
2866 | Cat 5e Jack | 368 | 4.16 | E | 1530.88 | 0.23 | E | 84.64
2933 | Plenum Cat 5e 24gauge 4pair | 5520 | 340.67 | M | 1880.5 | 8.85 | M | 48.85
3078 | 1/8" Poly Pull Line | 726 | 56.85 | M | 41.27 | 2 | M | 1.45
4892 | 4" Square-3/0 Plaster Ring-5/8"D | 8 | 150.25 | C | 12.02 | 0.07 | E | 0.56
4897 | 4" Square-1G Plaster Ring-5/8"D | 132 | 103.2 | C | 136.22 | 0.07 | E | 9.24
4948 | 1G Plastic Blank Plate | 66 | 0.33 | E | 21.78 | 0.08 | E | 5.28
4949 | 1G Plastic Decora Plate | 66 | 0.46 | E | 30.36 | 0.08 | E | 5.28
6133 | Red Wirenuts (10-18 guage) | 552 | 145.79 | M | 80.48 | 1.75 | C | 9.66
7123 | 6X1/4" Pan Head Tapping Screw | 1000 | 2.36 | C | 23.6 | 0.01 | E | 10
7124 | Ground Screw | 184 | 9.79 | C | 18.01 | 0.01 | E | 1.84
62684 | Low Voltage Wall Switch Vacancy Sensor | 66 | 0 | 11 | 0 | 0.19 | E | 12.54
62693 | Dual Technology Ceiling Mount Sensor | 110 | 0 | 11 | 0 | 0.28 | E | 30.8
62695 | 1 Relay On/Off 0-10V Dimming Room Controller | 66 | 0 | 11 | 0 | 0.19 | E | 12.54
62784 | Daylight Harvesting Photocell | 8 | 0 | 11 | 0 | 0.24 | E | 1.92
T0001 | LCP | 1 | 0 | E | 0 | 8 | E | 8
T0002 | LIGHTING CONTROL TESTING | 4 | 0 | E | 0 | 8 | E | 32
[10 empty] | 7695.64 | 453.14
LIGHTING BRANCH
1001 | 3/4" EMT | 1310 | 98.69 | C | 1292.84 | 2.7 | C | 35.37
1445 | 3/4" Set Screw Steel Conn | 20 | 90.45 | C | 18.09 | 0.06 | E | 1.2
1545 | 3/4" Set Screw Steel Cplg | 131 | 45.05 | C | 59.02 | 0.06 | E | 7.86
2360 | 3/4" Conduit Hanger w/Bolt | 163.75 | 79.94 | C | 130.9 | 12.5 | C | 20.47
2445 | 3/8" All Thread | 655 | 97.57 | C | 639.08 | 6.29 | C | 41.2
2447 | Hex Nut 3/8" Zinc Plated | 327.5 | 53.52 | C | 175.28 | 0.2 | C | 0.66
2451 | Flange Beam Clamp for 3/8" Thrd Rod | 163.75 | 373.55 | C | 611.69 | 10 | C | 16.38
2660 | #12 THHN CU Stranded Wire | 2425.5 | 245.3 | M | 594.98 | 5.5 | M | 13.34
2661 | #10 THHN CU Stranded Wire | 1701 | 375.14 | M | 638.11 | 6 | M | 10.21
[10 empty] | 4159.99 | 146.69
POWER DEVICE
1001 | 3/4" EMT | 8260 | 98.69 | C | 8151.79 | 2.7 | C | 223.02
1122 | 3/4" Steel Flex | 15 | 129.85 | C | 19.48 | 2 | C | 0.3
1445 | 3/4" Set Screw Steel Conn | 756 | 90.45 | C | 683.8 | 0.06 | E | 45.36
1545 | 3/4" Set Screw Steel Cplg | 826 | 45.05 | C | 372.11 | 0.06 | E | 49.56
1851 | 3/4" Die-Cast Straight Squeeze Flex Conn | 3 | 79.16 | C | 2.37 | 0.1 | E | 0.3
1876 | 3/4" 90 Degree Flex Connector | 3 | 429.29 | C | 12.88 | 0.15 | E | 0.45
2339 | 3/4" 1-Hole Strap | 805 | 22.8 | C | 183.54 | 2.3 | C | 18.52
2371 | 3/4" Unistrut Strap | 183.75 | 108.94 | C | 200.18 | 5 | C | 9.19
2395 | 3/4" Beam Clamp w/Conduit Hanger | 43.75 | 528.31 | C | 231.14 | 6 | C | 2.63
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 322 | 215.8 | C | 694.88 | 0.2 | E | 64.4
2471 | 4" Square x 2-1/8" Deep Box (1/2 & 3/4 KO's) | 7 | 300.45 | C | 21.03 | 0.18 | E | 1.26
2660 | #12 THHN CU Stranded Wire | 24979.5 | 245.3 | M | 6127.47 | 5.5 | M | 137.39
2661 | #10 THHN CU Stranded Wire | 1470 | 375.14 | M | 551.46 | 6 | M | 8.82
4409 | #14-12-10 Wire Termination Labor | 9 | 0 | E | 0 | 0.1 | E | 0.9
4703 | 20A/125V Spec Grade Dup Rcpt (5-20R) | 327 | 1.79 | E | 585.33 | 0.15 | E | 49.05
4712 | 20A/125V Spec Grade GFI (5-20R) | 44 | 17.92 | E | 788.48 | 0.19 | E | 8.36
4733 | 30A/250V 2P3W Tw-Lk Rcpt (L6-30R) | 7 | 17.69 | E | 123.83 | 0.23 | E | 1.61
4897 | 4" Square-1G Plaster Ring-5/8"D | 280 | 103.2 | C | 288.96 | 0.07 | E | 19.6
4902 | 4" Square-2G Plaster Ring-5/8"D | 49 | 275.47 | C | 134.98 | 0.07 | E | 3.43
4959 | 2G Plastic Duplex Receptacle Plate | 4 | 0.81 | E | 3.24 | 0.08 | E | 0.32
4973 | 1G SS Decora/GFI Plate | 36 | 1.45 | E | 52.2 | 0.11 | E | 3.96
4974 | 1G SS Dup Rcpt Plate | 237 | 1.41 | E | 334.17 | 0.06 | E | 14.22
4975 | 1G SS Power Rcpt Plate | 7 | 1.96 | E | 13.72 | 0.14 | E | 0.98
4982 | 2G SS Dup Rcpt Plate | 45 | 2.91 | E | 130.95 | 0.08 | E | 3.6
5904 | 6'/1 Ckt-3 Wire Plugmold/Outlets 6" Ctr. | 10 | 712.79 | E | 7127.9 | 1.1 | E | 11
5932 | Unistrut (Deep) | 183.75 | 378.57 | C | 695.62 | 10 | C | 18.38
5935 | Cut 12 Gauge 1-5/8x1-5/8 Channel (labor) | 367.5 | 0 | E | 0 | 0.15 | E | 55.13
6133 | Red Wirenuts (10-18 guage) | 996 | 145.79 | M | 145.21 | 1.75 | C | 17.43
7114 | Ground Screw with Bare Pigtail | 329 | 4.06 | E | 1335.74 | 1.2 | C | 3.95
7123 | 6X1/4" Pan Head Tapping Screw | 1316 | 2.36 | C | 31.06 | 0.01 | E | 13.16
T0008 | LEGRAND WIREMOLD 4AT | 6 | 750 | E | 4500 | 4 | E | 24
T0014 | LEGRAND CONNECTRAC EXPRESSKIT | 15 | 50 | E | 750 | 0.5 | E | 7.5
[10 empty] | 34293.52 | 817.78
MECHANICAL DEVICES
1122 | 3/4" Steel Flex | 35 | 129.85 | C | 45.45 | 2 | C | 0.7
1144 | 3/4" Liquidtight (metallic) | 10 | 187.75 | C | 18.78 | 2 | C | 0.2
1851 | 3/4" Die-Cast Straight Squeeze Flex Conn | 7 | 79.16 | C | 5.54 | 0.1 | E | 0.7
1876 | 3/4" 90 Degree Flex Connector | 7 | 429.29 | C | 30.05 | 0.15 | E | 1.05
1894 | 3/4" Seal-tite Conn (Str) | 2 | 481.9 | C | 9.64 | 0.09 | E | 0.18
1914 | 3/4" Seal-tite Conn (90 Degree) | 2 | 843.9 | C | 16.88 | 0.22 | E | 0.44
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 6 | 215.8 | C | 12.95 | 0.2 | E | 1.2
2481 | 1G WP Bell Box-(3)3/4" Hubs | 2 | 108.64 | C | 2.17 | 0.61 | E | 1.22
2660 | #12 THHN CU Stranded Wire | 196 | 245.3 | M | 48.08 | 5.5 | M | 1.08
3226 | 30A/3P 240V GD NF Safety Sw-Nema 1 | 1 | 58.9 | E | 58.9 | 0.5 | E | 0.5
4409 | #14-12-10 Wire Termination Labor | 28 | 0 | E | 0 | 0.1 | E | 2.8
4892 | 4" Square-3/0 Plaster Ring-5/8"D | 6 | 150.25 | C | 9.02 | 0.07 | E | 0.42
4978 | 1G SS Toggle Sw Plate | 6 | 1.41 | E | 8.46 | 0.08 | E | 0.48
5057 | 1G WP Blank Cover | 2 | 22.32 | C | 0.45 | 0.12 | E | 0.24
6133 | Red Wirenuts (10-18 guage) | 28 | 145.79 | M | 4.08 | 1.75 | C | 0.49
T0007 | SD DUCT TYPE | 1 | 350 | E | 350 | 1 | E | 1
[10 empty] | 620.45 | 12.7
MECHANICAL BRANCH
| --- MECHANICAL BRANCH --- |  |  |  | 0 |  |  | 0
1001 | 3/4" EMT | 2090 | 98.69 | C | 2062.62 | 2.7 | C | 56.43
1122 | 3/4" Steel Flex | 265 | 129.85 | C | 344.1 | 2 | C | 5.3
1144 | 3/4" Liquidtight (metallic) | 10 | 187.75 | C | 18.78 | 2 | C | 0.2
1445 | 3/4" Set Screw Steel Conn | 108 | 90.45 | C | 97.69 | 0.06 | E | 6.48
1545 | 3/4" Set Screw Steel Cplg | 209 | 45.05 | C | 94.15 | 0.06 | E | 12.54
1851 | 3/4" Die-Cast Straight Squeeze Flex Conn | 53 | 79.16 | C | 41.95 | 0.1 | E | 5.3
1876 | 3/4" 90 Degree Flex Connector | 53 | 429.29 | C | 227.52 | 0.15 | E | 7.95
1894 | 3/4" Seal-tite Conn (Str) | 2 | 481.9 | C | 9.64 | 0.09 | E | 0.18
1914 | 3/4" Seal-tite Conn (90 Degree) | 2 | 843.9 | C | 16.88 | 0.22 | E | 0.44
2360 | 3/4" Conduit Hanger w/Bolt | 261.25 | 79.94 | C | 208.84 | 12.5 | C | 32.66
2445 | 3/8" All Thread | 1045 | 97.57 | C | 1019.61 | 6.29 | C | 65.73
2447 | Hex Nut 3/8" Zinc Plated | 522.5 | 53.52 | C | 279.64 | 0.2 | C | 1.05
2451 | Flange Beam Clamp for 3/8" Thrd Rod | 261.25 | 373.55 | C | 975.9 | 10 | C | 26.13
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 53 | 215.8 | C | 114.37 | 0.2 | E | 10.6
2660 | #12 THHN CU Stranded Wire | 6121.5 | 245.3 | M | 1501.6 | 5.5 | M | 33.67
2661 | #10 THHN CU Stranded Wire | 539 | 375.14 | M | 202.2 | 6 | M | 3.23
2662 | #8 THHN CU Stranded Wire | 1118 | 681.01 | M | 761.37 | 6.25 | M | 6.99
3233 | 60A/3P 240V GD NF Safety Sw-Nema 3R | 2 | 168.34 | E | 336.68 | 1.35 | E | 2.7
4409 | #14-12-10 Wire Termination Labor | 161 | 0 | E | 0 | 0.1 | E | 16.1
4410 | #8-6 Wire Termination Labor | 4 | 0 | E | 0 | 0.15 | E | 0.6
4892 | 4" Square-3/0 Plaster Ring-5/8"D | 53 | 150.25 | C | 79.63 | 0.07 | E | 3.71
4978 | 1G SS Toggle Sw Plate | 53 | 1.41 | E | 74.73 | 0.08 | E | 4.24
6133 | Red Wirenuts (10-18 guage) | 165 | 145.79 | M | 24.06 | 1.75 | C | 2.89
6135 | Blue Wirenuts (14-22 guage) | 4 | 123.35 | M | 0.49 | 3 | C | 0.12 |  | 8492.45 | 305.24
POWER BRANCH
1001 | 3/4" EMT | 6560 | 98.69 | C | 6474.06 | 2.7 | C | 177.12
1002 | 1" EMT | 150 | 158.13 | C | 237.2 | 2.75 | C | 4.13
1003 | 1-1/4" EMT | 350 | 249.08 | C | 871.78 | 3 | C | 10.5
1328 | 1-1/4" EMT Elbow | 16 | 916.96 | C | 146.71 | 0.25 | E | 4
1335 | 1" EMT Field Bend | 4 | 0 | E | 0 | 0.45 | E | 1.8
1445 | 3/4" Set Screw Steel Conn | 134 | 90.45 | C | 121.2 | 0.06 | E | 8.04
1446 | 1" Set Screw Steel Conn | 2 | 150.15 | C | 3 | 0.07 | E | 0.14
1447 | 1-1/4" Set Screw Steel Conn | 8 | 166.97 | C | 13.36 | 0.09 | E | 0.72
1545 | 3/4" Set Screw Steel Cplg | 656 | 45.05 | C | 295.53 | 0.06 | E | 39.36
1546 | 1" Set Screw Steel Cplg | 19 | 68.85 | C | 13.08 | 0.07 | E | 1.33
1547 | 1-1/4" Set Screw Steel Cplg | 51 | 131.47 | C | 67.05 | 0.09 | E | 4.59
2339 | 3/4" 1-Hole Strap | 820 | 22.8 | C | 186.96 | 2.3 | C | 18.86
2340 | 1" 1-Hole Strap | 18.75 | 15.2 | C | 2.85 | 2.29 | C | 0.43
2341 | 1-1/4" 1-Hole Strap | 43.75 | 31.24 | C | 13.67 | 2.44 | C | 1.07
2445 | 3/8" All Thread | 600 | 97.57 | C | 585.42 | 6.29 | C | 37.74
2447 | Hex Nut 3/8" Zinc Plated | 600 | 53.52 | C | 321.12 | 0.2 | C | 1.2
2449 | 3/8"x1-1/2" Bolt | 150 | 20.1 | C | 30.15 | 3 | C | 4.5
2450 | 3/8" Machine Screw Lead Anchor | 150 | 134.99 | C | 202.49 | 14 | C | 21
2660 | #12 THHN CU Stranded Wire | 26376 | 245.3 | M | 6470.03 | 5.5 | M | 145.07
2661 | #10 THHN CU Stranded Wire | 5974.5 | 375.14 | M | 2241.27 | 6 | M | 35.85
2662 | #8 THHN CU Stranded Wire | 370 | 681.01 | M | 251.97 | 6.25 | M | 2.31
2664 | #4 THHN CU Stranded Wire | 740 | 1603.41 | M | 1186.52 | 9 | M | 6.66
5932 | Unistrut (Deep) | 225 | 378.57 | C | 851.78 | 10 | C | 22.5
5935 | Cut 12 Gauge 1-5/8x1-5/8 Channel (labor) | 75 | 0 | E | 0 | 0.15 | E | 11.25
[10 empty] | 20587.2 | 560.17
GEAR
3734 | 100A 3P 600V CB | 3 | 0 | E | 0 | 1 | E | 3
3736 | 125A 3P 600V CB | 1 | 0 | E | 0 | 1.05 | E | 1.05
5L1A2LAB | 100 Amp Surf Panel-Nema 1 | 1 | 0 | 2 | 0 | 8 | E | 8
5L1A2MDF | 125 Amp Surf Panel-Nema 1 | 1 | 0 | 2 | 0 | 8 | E | 8
5L1B1A | 100 Amp Surf Panel-Nema 1 | 1 | 0 | 2 | 0 | 8 | E | 8
5L1B2A | 100 Amp Surf Panel-Nema 1 | 1 | 0 | 2 | 0 | 8 | E | 8
T0006 | SUBMETER | 2 | 0 | E | 0 | 4 | E | 8
[10 empty] | 0 | 44.05
FEEDERS
1003 | 1-1/4" EMT | 100 | 249.08 | C | 249.08 | 3 | C | 3
1004 | 1-1/2" EMT | 160 | 311.04 | C | 497.66 | 3.25 | C | 5.2
1328 | 1-1/4" EMT Elbow | 8 | 916.96 | C | 73.36 | 0.25 | E | 2
1329 | 1-1/2" EMT Elbow | 4 | 1159.12 | C | 46.36 | 0.3 | E | 1.2
1447 | 1-1/4" Set Screw Steel Conn | 6 | 166.97 | C | 10.02 | 0.09 | E | 0.54
1448 | 1-1/2" Set Screw Steel Conn | 2 | 120.59 | C | 2.41 | 0.12 | E | 0.24
1547 | 1-1/4" Set Screw Steel Cplg | 18 | 131.47 | C | 23.66 | 0.09 | E | 1.62
1548 | 1-1/2" Set Screw Steel Cplg | 20 | 186.65 | C | 37.33 | 0.11 | E | 2.2
1683 | 1-1/4" Insulated Grounding Bushing | 6 | 537.32 | C | 32.24 | 0.33 | E | 1.98
1684 | 1-1/2" Insulated Grounding Bushing | 2 | 512.76 | C | 10.26 | 0.44 | E | 0.88
2373 | 1-1/4" Unistrut Strap | 12.5 | 58.59 | C | 7.32 | 7 | C | 0.88
2374 | 1-1/2" Unistrut Strap | 20 | 72.62 | C | 14.52 | 8 | C | 1.6
2662 | #8 THHN CU Stranded Wire | 145 | 681.01 | M | 98.75 | 6.25 | M | 0.91
2663 | #6 THHN CU Stranded Wire | 175 | 1047.77 | M | 183.36 | 7 | M | 1.23
2666 | #2 THHN CU Stranded Wire | 580 | 2531.39 | M | 1468.21 | 10 | M | 5.8
2667 | #1 THHN CU Stranded Wire | 700 | 2830.66 | M | 1981.46 | 11 | M | 7.7
4410 | #8-6 Wire Termination Labor | 8 | 0 | E | 0 | 0.15 | E | 1.2
4411 | #4-1 Wire Termination Labor | 8 | 0 | E | 0 | 0.18 | E | 1.44
4412 | #2-2/0 Wire Termination Labor | 24 | 0 | E | 0 | 0.2 | E | 4.8
5932 | Unistrut (Deep) | 32.5 | 378.57 | C | 123.04 | 10 | C | 3.25
5935 | Cut 12 Gauge 1-5/8x1-5/8 Channel (labor) | 65 | 0 | E | 0 | 0.15 | E | 9.75
[10 empty] | 4859.04 | 57.42
LV ROUGH
1002 | 1" EMT | 1110 | 158.13 | C | 1755.24 | 2.75 | C | 30.53
1004 | 1-1/2" EMT | 690 | 311.04 | C | 2146.18 | 3.25 | C | 22.43
1009 | 4" EMT | 245 | 944.46 | C | 2313.93 | 7 | C | 17.15
1126 | 2" Stel Flex | 660 | 574.99 | C | 3794.93 | 8 | C | 52.8
1329 | 1-1/2" EMT Elbow | 46 | 1159.12 | C | 533.2 | 0.3 | E | 13.8
1446 | 1" Set Screw Steel Conn | 111 | 150.15 | C | 166.67 | 0.07 | E | 7.77
1448 | 1-1/2" Set Screw Steel Conn | 46 | 120.59 | C | 55.47 | 0.12 | E | 5.52
1453 | 4" Set Screw Steel Conn | 64 | 5.43 | E | 347.52 | 0.34 | E | 21.76
1548 | 1-1/2" Set Screw Steel Cplg | 115 | 186.65 | C | 214.65 | 0.11 | E | 12.65
1553 | 4" Set Screw Steel Cplg | 24.5 | 888.36 | C | 217.65 | 0.24 | E | 5.88
1608 | 1" Plastic Bushing | 111 | 26.38 | C | 29.28 | 0.08 | E | 8.88
1610 | 1-1/2" Plastic Bushing | 46 | 21.72 | C | 9.99 | 0.11 | E | 5.06
1615 | 4" Plastic Bushing | 64 | 105.38 | C | 67.44 | 0.29 | E | 18.56
1880 | 2" 90 Degree Flex Connector | 46 | 4513.39 | C | 2076.16 | 0.13 | E | 5.98
2340 | 1" 1-Hole Strap | 111 | 15.2 | C | 16.87 | 2.29 | C | 2.54
2343 | 2" 1-Hole Strap | 7.5 | 119.2 | C | 8.94 | 2.44 | C | 0.18
2368 | 4" Conduit Hanger w/Bolt | 30.625 | 892.2 | C | 273.24 | 20 | C | 6.13
2374 | 1-1/2" Unistrut Strap | 86.25 | 72.62 | C | 62.63 | 8 | C | 6.9
2375 | 2" Unistrut Strap | 75 | 150.91 | C | 113.18 | 10 | C | 7.5
2445 | 3/8" All Thread | 666.5 | 97.57 | C | 650.3 | 6.29 | C | 41.92
2447 | Hex Nut 3/8" Zinc Plated | 666.5 | 53.52 | C | 356.71 | 0.2 | C | 1.33
2449 | 3/8"x1-1/2" Bolt | 166.625 | 20.1 | C | 33.49 | 3 | C | 5
2450 | 3/8" Machine Screw Lead Anchor | 166.625 | 134.99 | C | 224.93 | 14 | C | 23.33
2452 | Angle Bracket for 1/4-3/8 Rod | 30.625 | 207.12 | C | 63.43 | 15 | C | 4.59
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 111 | 215.8 | C | 239.54 | 0.2 | E | 22.2
2477 | 4-11/16" Square Box w/brkt Comb KO's | 3 | 657.94 | C | 19.74 | 0.25 | E | 0.75
3078 | 1/8" Poly Pull Line | 2895.75 | 56.85 | M | 164.62 | 2 | M | 5.79
4897 | 4" Square-1G Plaster Ring-5/8"D | 111 | 103.2 | C | 114.55 | 0.07 | E | 7.77
4925 | 4-11/16"-1G Plaster Ring-5/8"D | 3 | 142.42 | C | 4.27 | 0.08 | E | 0.24
4948 | 1G Plastic Blank Plate | 111 | 0.33 | E | 36.63 | 0.08 | E | 8.88
4972 | 1G SS Blank Plate | 3 | 1.64 | E | 4.92 | 0.08 | E | 0.24
5932 | Unistrut (Deep) | 297.25 | 378.57 | C | 1125.3 | 10 | C | 29.73
5935 | Cut 12 Gauge 1-5/8x1-5/8 Channel (labor) | 390.5 | 0 | E | 0 | 0.15 | E | 58.58
6133 | Red Wirenuts (10-18 guage) | 9 | 145.79 | M | 1.31 | 1.75 | C | 0.16
6224 | Ladder Cable Tray/Rungs 6" Apart/4"Dx6"W | 150 | 40 | FT | 6000 | 13.5 | C | 20.25
6227 | Ladder Cable Tray/Rungs 6"Apart/4"Dx18"W | 190 | 50 | FT | 9500 | 16 | C | 30.4
T0009 | WIREMOLD POKE THRU 6AT | 28 | 1000 | E | 28000 | 4 | E | 112
T0011 | GROUNDING BUS BAR | 1 | 300 | E | 300 | 2 | E | 2
[10 empty] | 61042.91 | 627.18
SEC ROUGH
1001 | 3/4" EMT | 1360 | 98.69 | C | 1342.18 | 2.7 | C | 36.72
1003 | 1-1/4" EMT | 20 | 249.08 | C | 49.82 | 3 | C | 0.6
1445 | 3/4" Set Screw Steel Conn | 136 | 90.45 | C | 123.01 | 0.06 | E | 8.16
1447 | 1-1/4" Set Screw Steel Conn | 2 | 166.97 | C | 3.34 | 0.09 | E | 0.18
1607 | 3/4" Plastic Bushing | 136 | 19.98 | C | 27.17 | 0.07 | E | 9.52
1609 | 1-1/4" Plastic Bushing | 2 | 16.8 | C | 0.34 | 0.09 | E | 0.18
2339 | 3/4" 1-Hole Strap | 136 | 22.8 | C | 31.01 | 2.3 | C | 3.13
2341 | 1-1/4" 1-Hole Strap | 2 | 31.24 | C | 0.62 | 2.44 | C | 0.05
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 138 | 215.8 | C | 297.8 | 0.2 | E | 27.6
3078 | 1/8" Poly Pull Line | 1518 | 56.85 | M | 86.3 | 2 | M | 3.04
4897 | 4" Square-1G Plaster Ring-5/8"D | 138 | 103.2 | C | 142.42 | 0.07 | E | 9.66
4948 | 1G Plastic Blank Plate | 138 | 0.33 | E | 45.54 | 0.08 | E | 11.04
[10 empty] | 2149.55 | 109.88
AV ROUGH
1002 | 1" EMT | 10 | 158.13 | C | 15.81 | 2.75 | C | 0.28
1003 | 1-1/4" EMT | 430 | 249.08 | C | 1071.04 | 3 | C | 12.9
1004 | 1-1/2" EMT | 450 | 311.04 | C | 1399.68 | 3.25 | C | 14.63
1329 | 1-1/2" EMT Elbow | 30 | 1159.12 | C | 347.74 | 0.3 | E | 9
1446 | 1" Set Screw Steel Conn | 1 | 150.15 | C | 1.5 | 0.07 | E | 0.07
1447 | 1-1/4" Set Screw Steel Conn | 43 | 166.97 | C | 71.8 | 0.09 | E | 3.87
1448 | 1-1/2" Set Screw Steel Conn | 30 | 120.59 | C | 36.18 | 0.12 | E | 3.6
1548 | 1-1/2" Set Screw Steel Cplg | 75 | 186.65 | C | 139.99 | 0.11 | E | 8.25
1608 | 1" Plastic Bushing | 1 | 26.38 | C | 0.26 | 0.08 | E | 0.08
1609 | 1-1/4" Plastic Bushing | 43 | 16.8 | C | 7.22 | 0.09 | E | 3.87
1610 | 1-1/2" Plastic Bushing | 30 | 21.72 | C | 6.52 | 0.11 | E | 3.3
2340 | 1" 1-Hole Strap | 1 | 15.2 | C | 0.15 | 2.29 | C | 0.02
2341 | 1-1/4" 1-Hole Strap | 43 | 31.24 | C | 13.43 | 2.44 | C | 1.05
2374 | 1-1/2" Unistrut Strap | 56.25 | 72.62 | C | 40.85 | 8 | C | 4.5
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 44 | 215.8 | C | 94.95 | 0.2 | E | 8.8
3078 | 1/8" Poly Pull Line | 956.5 | 56.85 | M | 54.38 | 2 | M | 1.91
4897 | 4" Square-1G Plaster Ring-5/8"D | 44 | 103.2 | C | 45.41 | 0.07 | E | 3.08
4948 | 1G Plastic Blank Plate | 44 | 0.33 | E | 14.52 | 0.08 | E | 3.52
5932 | Unistrut (Deep) | 56.25 | 378.57 | C | 212.95 | 10 | C | 5.63
5935 | Cut 12 Gauge 1-5/8x1-5/8 Channel (labor) | 112.5 | 0 | E | 0 | 0.15 | E | 16.88
T0010 | WIREMOLD POKE THRU 8AT | 15 | 1200 | E | 18000 | 4 | E | 60
T0012 | CHIEF PAC525F | 29 | 250 | E | 7250 | 3 | E | 87
T0013 | CHIEF FPIWMKIT1 | 2 | 300 | E | 600 | 3 | E | 6
[10 empty] | 29424.38 | 258.24
CO2 SENSORS ROUGH
1001 | 3/4" EMT | 300 | 98.69 | C | 296.07 | 2.7 | C | 8.1
1445 | 3/4" Set Screw Steel Conn | 12 | 90.45 | C | 10.85 | 0.06 | E | 0.72
1545 | 3/4" Set Screw Steel Cplg | 30 | 45.05 | C | 13.52 | 0.06 | E | 1.8
2339 | 3/4" 1-Hole Strap | 37.5 | 22.8 | C | 8.55 | 2.3 | C | 0.86
2469 | 4" Square Box (1/2 & 3/4 KO's) | 6 | 188.64 | C | 11.32 | 0.18 | E | 1.08
3078 | 1/8" Poly Pull Line | 315 | 56.85 | M | 17.91 | 2 | M | 0.63
5080 | 4" Square Flat Blank Cover w/KO | 6 | 177.7 | C | 10.66 | 0.07 | E | 0.42
[10 empty] | 368.88 | 13.61
BAS ROUGH | [14 empty] | 66527.9
1001 | 3/4" EMT | 400 | 98.69 | C | 394.76 | 2.7 | C | 10.8
1445 | 3/4" Set Screw Steel Conn | 4 | 90.45 | C | 3.62 | 0.06 | E | 0.24
1545 | 3/4" Set Screw Steel Cplg | 40 | 45.05 | C | 18.02 | 0.06 | E | 2.4
2339 | 3/4" 1-Hole Strap | 50 | 22.8 | C | 11.4 | 2.3 | C | 1.15
2469 | 4" Square Box (1/2 & 3/4 KO's) | 2 | 188.64 | C | 3.77 | 0.18 | E | 0.36
3078 | 1/8" Poly Pull Line | 420 | 56.85 | M | 23.88 | 2 | M | 0.84
5080 | 4" Square Flat Blank Cover w/KO | 2 | 177.7 | C | 3.55 | 0.07 | E | 0.14
[10 empty] | 459 | 15.93
THERMOSTAT ROUGH
1001 | 3/4" EMT | 1680 | 98.69 | C | 1657.99 | 2.7 | C | 45.36
1445 | 3/4" Set Screw Steel Conn | 168 | 90.45 | C | 151.96 | 0.06 | E | 10.08
1545 | 3/4" Set Screw Steel Cplg | 112 | 45.05 | C | 50.46 | 0.06 | E | 6.72
1607 | 3/4" Plastic Bushing | 56 | 19.98 | C | 11.19 | 0.07 | E | 3.92
2339 | 3/4" 1-Hole Strap | 196 | 22.8 | C | 44.69 | 2.3 | C | 4.51
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 56 | 215.8 | C | 120.85 | 0.2 | E | 11.2
3078 | 1/8" Poly Pull Line | 1792 | 56.85 | M | 101.88 | 2 | M | 3.58
4897 | 4" Square-1G Plaster Ring-5/8"D | 56 | 103.2 | C | 57.79 | 0.07 | E | 3.92
4948 | 1G Plastic Blank Plate | 56 | 0.33 | E | 18.48 | 0.08 | E | 4.48
[10 empty] | 2215.29 | 93.77
CSFD CONNECTION ROUGH
1001 | 3/4" EMT | 420 | 98.69 | C | 414.5 | 2.7 | C | 11.34
1122 | 3/4" Steel Flex | 70 | 129.85 | C | 90.9 | 2 | C | 1.4
1445 | 3/4" Set Screw Steel Conn | 28 | 90.45 | C | 25.33 | 0.06 | E | 1.68
1545 | 3/4" Set Screw Steel Cplg | 42 | 45.05 | C | 18.92 | 0.06 | E | 2.52
1851 | 3/4" Die-Cast Straight Squeeze Flex Conn | 14 | 79.16 | C | 11.08 | 0.1 | E | 1.4
1876 | 3/4" 90 Degree Flex Connector | 14 | 429.29 | C | 60.1 | 0.15 | E | 2.1
2339 | 3/4" 1-Hole Strap | 52.5 | 22.8 | C | 11.97 | 2.3 | C | 1.21
2660 | #12 THHN CU Stranded Wire | 1617 | 245.3 | M | 396.65 | 5.5 | M | 8.89
4409 | #14-12-10 Wire Termination Labor | 42 | 0 | E | 0 | 0.1 | E | 4.2
6133 | Red Wirenuts (10-18 guage) | 42 | 145.79 | M | 6.12 | 1.75 | C | 0.74
[10 empty] | 1035.57 | 35.48
MISC
T0007 | CORING AND FIRESTOPPING | 47 | 100 | E | 4700 | 2 | E | 94
T0008 | SCANNING | 47 | 100 | E | 4700 | 1 | E | 47
T0008 | MISC MATERIALS AND LABOR | 1 | 2000 | E | 2000 | 80 | E | 80
[9 empty] | TOTAL | 198636.84 | 5387.1

## ALTERNATE 9
Category Label | Category Data
Material Non-Quoted | 211.75 |  |  | Project : | HONEST COMPANY PLAYA VISTA
Material Quotes | 1250 |  |  | Due Date : | 2026-08-31
Material Escalation | 0 | 0% | PLEASE ADJUST
Sales Tax | 142.5206 | 9.75% | PLEASE ADJUST
Total Material | 1604.2706 |  |  | Bid Price |  |  | 2959.8452
Labor Direct | 584.1 | 45 | PLEASE ADJUST | Non Productive Labor |  |  | 1.947 |  |  |  | NON-PRODUCTIVE HOURS
Labor Non-Productive | 87.615 |  |  | Labor Hours |  |  | 12.98 |  |  |  | NON PRODUCTIVE LABOR | 0.649 | 5% | PLEASE ADJUST ACCORDINGLY
Total Labor | 671.715 |  |  | Total Labor Hours |  |  | 14.927 |  |  |  | SUPERVISION | 1.298 | 10% | PLEASE ADJUST ACCORDINGLY
Direct Job Expenses | 20.1515 | [9 empty] | OT OR SHIFT | 0 |  | PLEASE ADJUST ACCORDINGLY
Tools and Miscellaneous Materials | 43.6615 | [9 empty] | TESTING | 0 |  | PLEASE ADJUST ACCORDINGLY
Subcontracts | 0 | [9 empty] | PUNCH LISTS | 0 |  | PLEASE ADJUST ACCORDINGLY
Subcontract mark up | 0 | 5% | PLEASE ADJUST | [7 empty] | T24 LTG COMMISSION | 0 |  | PLEASE ADJUST ACCORDINGLY
Job Subtotal (Prime Cost) | 2339.7985 |  |  | Job Total per Square Foot |  |  | 0.090438 |  |  |  | CLOSEOUT&MISC HRS | 0 |  | PLEASE ADJUST ACCORDINGLY
Overhead | 233.9799 | 10% | PLEASE ADJUST | Labor cost per Square Foot |  |  | 0.017847 |  |  |  | NON-PROD TOTAL | 1.947
Profit | 386.0668 | 15% | PLEASE ADJUST | Total Square Feet |  |  | 32728
Job Total | 2959.8452
Bond | 0 | 0% | PLEASE ADJUST | [7 empty] | # OF GUYS | 10
CONTINGENCY | 0 | 0% | PLEASE ADJUST | [7 empty] | DAYS TO COMPLETE | 0.18659
Actual Bid Price | 2959.8452
HOURS/ SF | 0.00045609
MATERIAL/SF | 0.00647
MATERIAL QUOTE | Description | Qty | Price | Total
QUOTE | LIGHTING AND CONTROLS | 1 | 1250 | 1250
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
SUBCONTRACT | Description | Qty | Price | Total
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
Direct Job Expense | Description / Vendor | Qty | Price | Total
PERMIT FEES |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
GENERAL SUPERVISION |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
FUEL |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TRUCKS |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TEMP POWER |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
JOB OFFICE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TITLE 24 |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
Misc. Expenses and Materials |  | 1 | 20.1515 | 20.1515 |  | PLEASE ADJUST ACCORDINGLY
TOOLS AND MISC EXPENSES | Description / Vendor | Qty | Price | Day | Week | Month | Total
TOOLS AND MISC EXPENSES |  | 1 | 10.0757 |  |  |  | 10.0757 |  | PLEASE ADJUST ACCORDINGLY
EQUIPMENT RENTAL /SCISSOR LIFT |  | 1 | 33.5858 |  |  |  | 33.5858 |  | PLEASE ADJUST ACCORDINGLY
EXCAVATOR RENTAL |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Trencher |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Man Lift |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Delivery | Rental Delivery Charge | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Item# | Description | Qty | Price | Price Unit | Ext Price | Labor | Labor Unit | Ext Labor | Updated | MAT SUBTOTAL | LABOR SUBTOTAL
ALTERNATE 9
1001 | 3/4" EMT | 70 | 98.69 | C | 69.08 | 2.7 | C | 1.89
1445 | 3/4" Set Screw Steel Conn | 9 | 90.45 | C | 8.14 | 0.06 | E | 0.54
1545 | 3/4" Set Screw Steel Cplg | 6 | 45.05 | C | 2.7 | 0.06 | E | 0.36
1607 | 3/4" Plastic Bushing | 1 | 19.98 | C | 0.2 | 0.07 | E | 0.07
2339 | 3/4" 1-Hole Strap | 9 | 22.8 | C | 2.05 | 2.3 | C | 0.21
2456 | 7' Cable Ty Wrap | 6 | 13.13 | C | 0.79 | 0.03 | E | 0.18
2469 | 4" Square Box (1/2 & 3/4 KO's) | 2 | 188.64 | C | 3.77 | 0.18 | E | 0.36
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 4 | 215.8 | C | 8.63 | 0.2 | E | 0.8
2660 | #12 THHN CU Stranded Wire | 231 | 245.3 | M | 56.66 | 5.5 | M | 1.27
2866 | Cat 5e Jack | 4 | 4.16 | E | 16.64 | 0.23 | E | 0.92
2933 | Plenum Cat 5e 24gauge 4pair | 60 | 340.67 | M | 20.44 | 8.85 | M | 0.53
3078 | 1/8" Poly Pull Line | 11 | 56.85 | M | 0.63 | 2 | M | 0.02
4703 | 20A/125V Spec Grade Dup Rcpt (5-20R) | 1 | 1.79 | E | 1.79 | 0.15 | E | 0.15
4891 | 4" Square-3/0 Plaster Ring-1/2"D | 2 | 404.99 | C | 8.1 | 0.07 | E | 0.14
4897 | 4" Square-1G Plaster Ring-5/8"D | 3 | 103.2 | C | 3.1 | 0.07 | E | 0.21
4948 | 1G Plastic Blank Plate | 1 | 0.33 | E | 0.33 | 0.08 | E | 0.08
4949 | 1G Plastic Decora Plate | 1 | 0.46 | E | 0.46 | 0.08 | E | 0.08
4974 | 1G SS Dup Rcpt Plate | 1 | 1.41 | E | 1.41 | 0.06 | E | 0.06
5261 | Pendant /Cable (length as required) | 4 | 0 | E | 0 | 0.25 | E | 1
6133 | Red Wirenuts (10-18 guage) | 15 | 145.79 | M | 2.19 | 1.75 | C | 0.26
7114 | Ground Screw with Bare Pigtail | 1 | 4.06 | E | 4.06 | 1.2 | C | 0.01
7123 | 6X1/4" Pan Head Tapping Screw | 16 | 2.36 | C | 0.38 | 0.01 | E | 0.16
7124 | Ground Screw | 2 | 9.79 | C | 0.2 | 0.01 | E | 0.02
62684 | Low Voltage Wall Switch Vacancy Sensor | 1 | 0 | 11 | 0 | 0.19 | E | 0.19
62693 | Dual Technology Ceiling Mount Sensor | 1 | 0 | 11 | 0 | 0.28 | E | 0.28
62695 | 1 Relay On/Off 0-10V Dimming Room Controller | 1 | 0 | 11 | 0 | 0.19 | E | 0.19
B7 | 4FT LINEAR PENDANT | 2 | 0 | 1 | 0 | 1.5 | E | 3
[10 empty] | 211.75 | 12.98
[9 empty] | TOTAL | 211.75 | 12.98

## PARKING
Category Label | Category Data
Material Non-Quoted | 0 |  |  | Project : | HONEST COMPANY PLAYA VISTA
Material Quotes | 0 |  |  | Due Date : | 2026-08-31
Material Escalation | 0 | 0% | PLEASE ADJUST
Sales Tax | 0 | 7.75% | PLEASE ADJUST
Total Material | 0 |  |  | Bid Price |  |  | 20746
Labor Direct | 0 | 45 | PLEASE ADJUST | Non Productive Labor |  |  | 0 |  |  |  | NON-PRODUCTIVE HOURS
Labor Non-Productive | 0 |  |  | Labor Hours |  |  | 0 |  |  |  | NON PRODUCTIVE LABOR | 0 | 5% | PLEASE ADJUST ACCORDINGLY
Total Labor | 0 |  |  | Total Labor Hours |  |  | 0 |  |  |  | SUPERVISION | 0 | 10% | PLEASE ADJUST ACCORDINGLY
Direct Job Expenses | 16400 | [9 empty] | OT OR SHIFT | 0 |  | PLEASE ADJUST ACCORDINGLY
Tools and Miscellaneous Materials | 0 | [9 empty] | TESTING | 0 |  | PLEASE ADJUST ACCORDINGLY
Subcontracts | 0 | [9 empty] | PUNCH LISTS | 0 |  | PLEASE ADJUST ACCORDINGLY
Subcontract mark up | 0 | 5% | PLEASE ADJUST | [7 empty] | T24 LTG COMMISSION | 0 |  | PLEASE ADJUST ACCORDINGLY
Job Subtotal (Prime Cost) | 16400 |  |  | Job Total per Square Foot |  |  | 0.63389 |  |  |  | CLOSEOUT&MISC HRS | 0 |  | PLEASE ADJUST ACCORDINGLY
Overhead | 1640 | 10% | PLEASE ADJUST | Labor cost per Square Foot |  |  | 0 |  |  |  | NON-PROD TOTAL | 0
Profit | 2706 | 15% | PLEASE ADJUST | Total Square Feet |  |  | 32728
Job Total | 20746
Bond | 0 | 0% | PLEASE ADJUST | [7 empty] | # OF GUYS | 10
CONTINGENCY | 0 | 0% | PLEASE ADJUST | [7 empty] | DAYS TO COMPLETE | 0
Actual Bid Price | 20746
HOURS/ SF | 0
MATERIAL/SF | 0
MATERIAL QUOTE | Description | Qty | Price | Total
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
SUBCONTRACT | Description | Qty | Price | Total
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
Direct Job Expense | Description / Vendor | Qty | Price | Total
PERMIT FEES |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
GENERAL SUPERVISION |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
FUEL |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TRUCKS |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
PARKING FEES |  | 820 | 20 | 16400 |  | PLEASE ADJUST ACCORDINGLY
JOB OFFICE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TITLE 24 |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
Misc. Expenses and Materials |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TOOLS AND MISC EXPENSES | Description / Vendor | Qty | Price | Day | Week | Month | Total
TOOLS AND MISC EXPENSES |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
EQUIPMENT RENTAL /SCISSOR LIFT |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
EXCAVATOR RENTAL |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Trencher |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Man Lift |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Delivery | Rental Delivery Charge | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Item# | Description | Qty | Price | Price Unit | Ext Price | Labor | Labor Unit | Ext Labor | Updated | MAT SUBTOTAL | LABOR SUBTOTAL

## FIRE ALARM ROUGH
Category Label | Category Data
Material Non-Quoted | 8149.06 |  |  | Project : | HONEST COMPANY PLAYA VISTA
Material Quotes | 0 |  |  | Due Date : | 2026-08-31
Material Escalation | 0 | 0% | PLEASE ADJUST
Sales Tax | 794.5334 | 9.75% | PLEASE ADJUST
Total Material | 8943.5934 |  |  | Bid Price |  |  | 37535.9018
Labor Direct | 15522.3 | 45 | PLEASE ADJUST | Non Productive Labor |  |  | 75.741 |  |  |  | NON-PRODUCTIVE HOURS
Labor Non-Productive | 3408.345 |  |  | Labor Hours |  |  | 344.94 |  |  |  | NON PRODUCTIVE LABOR | 17.247 | 5% | PLEASE ADJUST ACCORDINGLY
Total Labor | 18930.645 |  |  | Total Labor Hours |  |  | 420.681 |  |  |  | SUPERVISION | 34.494 | 10% | PLEASE ADJUST ACCORDINGLY
Direct Job Expenses | 567.9194 | [9 empty] | OT OR SHIFT | 0 |  | PLEASE ADJUST ACCORDINGLY
Tools and Miscellaneous Materials | 1230.4919 | [9 empty] | TESTING | 8 |  | PLEASE ADJUST ACCORDINGLY
Subcontracts | 0 | [9 empty] | PUNCH LISTS | 16 |  | PLEASE ADJUST ACCORDINGLY
Subcontract mark up | 0 | 5% | PLEASE ADJUST | [7 empty] | T24 LTG COMMISSION | 0 |  | PLEASE ADJUST ACCORDINGLY
Job Subtotal (Prime Cost) | 29672.6496 |  |  | Job Total per Square Foot |  |  | 1.1469 |  |  |  | CLOSEOUT&MISC HRS | 0 |  | PLEASE ADJUST ACCORDINGLY
Overhead | 2967.265 | 10% | PLEASE ADJUST | Labor cost per Square Foot |  |  | 0.47428 |  |  |  | NON-PROD TOTAL | 75.741
Profit | 4895.9872 | 15% | PLEASE ADJUST | Total Square Feet |  |  | 32728
Job Total | 37535.9018
Bond | 0 | 0% | PLEASE ADJUST | [7 empty] | # OF GUYS | 10
CONTINGENCY | 0 | 0% | PLEASE ADJUST | [7 empty] | DAYS TO COMPLETE | 5.2585
Actual Bid Price | 37535.9018
HOURS/ SF | 0.012854
MATERIAL/SF | 0.24899
MATERIAL QUOTE | Description | Qty | Price | Total
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
QUOTE |  | 1 | 0 | 0
SUBCONTRACT | Description | Qty | Price | Total
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
SUBQUOTE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
Direct Job Expense | Description / Vendor | Qty | Price | Total
PERMIT FEES |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
GENERAL SUPERVISION |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
FUEL |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TRUCKS |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TEMP POWER |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
JOB OFFICE |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
TITLE 24 |  | 1 | 0 | 0 |  | PLEASE ADJUST ACCORDINGLY
Misc. Expenses and Materials |  | 1 | 567.9194 | 567.9194 |  | PLEASE ADJUST ACCORDINGLY
TOOLS AND MISC EXPENSES | Description / Vendor | Qty | Price | Day | Week | Month | Total
TOOLS AND MISC EXPENSES |  | 1 | 283.9597 |  |  |  | 283.9597 |  | PLEASE ADJUST ACCORDINGLY
EQUIPMENT RENTAL /SCISSOR LIFT |  | 1 | 946.5323 |  |  |  | 946.5323 |  | PLEASE ADJUST ACCORDINGLY
EXCAVATOR RENTAL |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Trencher |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Man Lift |  | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Delivery | Rental Delivery Charge | 1 | 0 |  |  |  | 0 |  | PLEASE ADJUST ACCORDINGLY
Item# | Description | Qty | Price | Price Unit | Ext Price | Labor | Labor Unit | Ext Labor | Updated | MAT SUBTOTAL | LABOR SUBTOTAL
FIRE ALARM ROUGH
1001 | 3/4" EMT | 6180 | 98.69 | C | 6099.04 | 2.7 | C | 166.86
1445 | 3/4" Set Screw Steel Conn | 618 | 90.45 | C | 558.98 | 0.06 | E | 37.08
1545 | 3/4" Set Screw Steel Cplg | 412 | 45.05 | C | 185.61 | 0.06 | E | 24.72
1607 | 3/4" Plastic Bushing | 206 | 19.98 | C | 41.16 | 0.07 | E | 14.42
2339 | 3/4" 1-Hole Strap | 721 | 22.8 | C | 164.39 | 2.3 | C | 16.58
2470 | 4" Square x 1-1/2" Deep Box w/bkt (1/2&3/4 KO's) | 206 | 215.8 | C | 444.55 | 0.2 | E | 41.2
3078 | 1/8" Poly Pull Line | 6592 | 56.85 | M | 374.76 | 2 | M | 13.18
4897 | 4" Square-1G Plaster Ring-5/8"D | 206 | 103.2 | C | 212.59 | 0.07 | E | 14.42
4948 | 1G Plastic Blank Plate | 206 | 0.33 | E | 67.98 | 0.08 | E | 16.48
[10 empty] | 8149.06 | 344.94
[9 empty] | TOTAL | 8149.06 | 344.94